## Sheet1
Sl. No | Item Description | Make & Model | MIB Availability | MIB Matched Status | Remarks
6.1.21 | Ethernet inclinometer | Jewell Systems eDXI-200-30/30, (PN: 02550380-204) | No | No | Mail Requested to vendor
6.1.22 | Fire prevention, detection and fighting systems - Hydrogen gas detection system | Ambetronics Engineers GT-2511-FLP | No | No | SNMP not applicable
6.1.23 | Fire prevention, detection and fighting systems - VESDA | Xtralis VESDA VLF-500 |  |  | Nagaram team requested to vendor -in mail Wed 08-04-2026 17:27
6.1.25 | UPS ( 20KVA in 1:1 with common Battery bank) | E&C Accenta 33 RT | Yes | Yes
6.1.26 | Monitoring cameras and recording system (2 Indoor, 2 outdoor & 1 NVR with storage) | Camera: Matrix Comsec , Satatya RIDR80FL28CWP P2, NVR: Norden/ Honeywell/ Axis/ Bosch/ Hanwha/ Vivotek/ Equivalent | No | No | MIB not applicable for this device
6.1.27 | Network equipment - Core switch | Cisco Catalyst C9407R Chassis-K9 | Yes | Yes
6.1.28 | Network equipment - Edge router | Cisco 8300 Series platform |  |  | Mail Requested to vendor date Fri 27-03-2026 14:39
6.1.29 | Network equipment - Node switch | Cisco 9300 L-3 switch |  |  | Mail Requested to vendor date Fri 27-03-2026 14:39
6.1.30 | Computer workstation with accessories and OS | Apogean IS41U-W3-G | Yes | No | MIB Available but not matching with device
6.1.31 | Computer consoles-Thin client computers | HP/Dell
6.1.32 | KVM over IP switch | Aten KN4016VB & CL6700MW | Yes | Yes
6.1.33 | VSAT systems - C band VSAT Antenna System | Enertech Comnet | Yes | No | Vendor Shared MIB, but not sure VSAT systems - SCPC PAMA modems with 11 hot-standby-DatumM7Mibs belong to the same sub-system.
6.1.34 | VSAT systems - Ku-band VSAT antenna system | Enertech Comnet | Yes | No | Vendor Shared MIB, but not sure VSAT systems - SCPC PAMA modems with 11 hot-standby-DatumM7Mibs belong to the same sub-system.
6.1.36 | VSAT systems - C-band BUC system with 1:1 hot-standby | Terrasat IBUC-C-080, (IBR058064-2NA082WW-2525), with Tx 1:1 redundancy controller | Yes | No | Vendor Shared MIB, but not sure VSAT systems - SCPC PAMA modems with 11 hot-standby-DatumM7Mibs belong to the same sub-system.
6.1.37 | VSAT systems - C-band LNB system with 1:1 hot-standby | Terrasat Rx 1:1 redundancy controller with Norsat 3100N-BPF-5 LNBs | Yes | No | Vendor Shared MIB but not sure VSAT systems - SCPC PAMA modems with 11 hot-standby-DatumM7Mibs belong to the same sub-system.
6.1.38 | VSAT systems - Ku-band BUC system with 1:1 hot-standby | Terrasat IBUC-Ku-080, (IBR137145-2NA080WW-2525), with Tx 1:1 redundancy controller | Yes | No | Vendor Shared MIB but not sure VSAT systems - SCPC PAMA modems with 11 hot-standby-DatumM7Mibs belong to the same sub-system.
6.1.39 | VSAT systems - Ku-band LNB system with 1:1 hot-standby | Terrasat Rx 1:1 redundancy controller with Norsat 1108HCN LNBs | Yes | No | Vendor Shared MIB but not sure VSAT systems - SCPC PAMA modems with 11 hot-standby-DatumM7Mibs belong to the same sub-system.
6.1.40 | VSAT systems - SCPC PAMA modems with 1:1 hot-standby | Datum Systems, M7L | Yes | No | Vendor Shared MIB but not sure VSAT systems - SCPC PAMA modems with 11 hot-standby-DatumM7Mibs belong to the same sub-system.
6.1.41 | VSAT systems - Active RF splitters | DEV System technik DEV2152 | Yes | Yes | Provided By Vendor
6.1.42 | VSAT systems - Active RF combiners | DEV System technik DEV2252 | Yes | Yes | Provided By Vendor
6.1.43 | Point-to-multipoint LOS system | ICOMM | Yes | Yes
6.1.45 | Antenna positioning unit (pan/tilt units) | Quickset MPT-50 RF | No | No | Raise Request Mail to vendor date Thu 02-04-2026 14:02
6.1.46 | HVAC sets | Sidwal | No | No | SNMP not applicable
6.1.47 | NBC filtration system | DHL | No | No | Raise Request Mail to vendor -Wed 08-04-2026 17:51
6.1.50 | NTP clock display | Meinberg RGB6/ Masterclock NTDS46 | No | No | Raise Request Mail to vendor -Thu 02-04-2026 14:11
6.1.51 | Ethernet hygro-thermometer unit | Comet Systems T3610 | Yes | Yes
6.1.52 | Ethernet carbon-dioxide concentration monitoring unit | Comet Systems T5640 | Yes | Yes
6.1.54 | VoIP system - VoIP phone | Matrix VP-510E | No | No | Vendor Response -in mail,(raise date -Mon 30-03-2026 16:13) You will have the option to view the VoIP phone registration status (Active or Disabled) on the NMS via the SIP server, where all phones are registered. Alternatively, there is a manual option to check the registration status through the phone’s web GUI login page.
6.1.55 | Power distribution and monitoring panel & IPDUs for 7 racks | BEL/ ICOMM
6.1.56 | Vehicle mounted Ethernet weather station | Columbia Weather Systems Orion Vehicle Mount Weather Station (9520-A-1) with Weather MicroServer (9590) | Yes | Yes
6.1.57 | Lightning warning system | Ingesco Previstorm TWS | No | Yes | SNMP not applicable
6.1.79 | TWSTFT system | Accord NGS-T20, Part No. 1400900, | No | No | Raise Request Mail to vendor date Mon 06-04-2026 15:38
6.1.80 | Multi-GNSS location sensing & compass system | Xtragen XT-500+ / Novatel PwrPak7D / V3Novus True North Path Finder | Yes | Yes
6.1.81 | Transportation data logger | Monilog EnDal Smart
6.1.82 | Serial device server | Moxa CN2650-16-2AC | No | No | Raise Request Mail to vendor date Thu 02-04-2026 12:31
a | Spread spectrum transmitter unit (SSTU) | BEL, PN: 110005818006 (Includes SSTU PN: 110005427387 & mating cables)
b | 200 W Solid state power amplifier (SSPA) | BEL, PN: 110005818103 (Includes SSPA PN: 110005434856 & mating cables)